## Slide 1: Early warnings of fire/smoke alarms as a service to the facility managers
by
Keerthana J

## Slide 2: Abstract
Current systems generate a fire alarm only when it reaches to a threshold level. The facility managers would have less control on controlling it once the event has already happened. Some of them could be real and some of them could be false alarms. In both the cases, the facility manager has less control on the situation. To overcome this problem , reading a small change in the device threshold and look at its past history, neighboring devices data to predict the possibility of an alarm happening in the next few minutes. An early warning would be given to the facility manager. The facility manager can identify the alarm is a real or a false one and, accordingly take a control action to resolve the problem.

## Slide 3: Block Diagram
LOOP CARD
DETECTORS
Web Application
Database
FACP
Sending the panel information
Requesting the panel information

## Slide 4: Block Diagram or Architecture
LOOP CARD
DETECTORS
Honeywell Domain
FACP
IP Address
Web Portal
Web Application
Database
Server
Requesting the panel information
(Packet Frames)
1
2
3
4
Panel Information stored in the database

## Slide 5: Flow Chart
start
Retrieving and display it in
Webpage
Giving request to the web portal(having an IP address) through Webpage
Web portal Accepts it and sends the request to the FACP and retrieve the Panel information
Stored in the database
Updation occurred
Yes
End
No